## Start
Gauge R&R · Variable Data |  |  | SKILLAGILITY
OPERATIONAL EXCELLENCE TOOLKIT · LEAN SIX SIGMA GREEN BELT (B303)
What this tool does
Checks whether your measurement system is good enough before you collect baseline data. It splits the observed variation into repeatability (equipment), reproducibility (appraisers) and part-to-part variation, using the Average & Range method.
How to use it
1 | Pick 10 parts (or items) that cover the normal range of your process. Number them, but hide the numbers from the appraisers.
2 | Let 2 or 3 appraisers measure every part 2 or 3 times in random order. Enter the results on the sheet 'Gauge R&R'. Leave the third appraiser or third trial empty if you do not use them.
3 | Optional: enter the tolerance (USL − LSL) to also get the % of tolerance.
4 | Read the verdict: %GRR below 10% = acceptable, 10–30% = conditionally acceptable, above 30% = fix the measurement system first. Number of distinct categories (ndc) should be 5 or more.
Colour legend
| Input | Enter or overwrite your own data here.
| Calculated | Formula — do not overwrite.
Example data
Meridian Industrial Supply — three analysts time the same 10 recorded order entries (screen recordings) three times each, in minutes, before manual order-entry time is used as a Critical X.
Course reference: Measure phase M5
No macros, no external links. Works in Excel 2010 or later, Excel for the web and LibreOffice.
© SKILLAGILITY · Operational Excellence training · skillagility.com

## Gauge R&R
Gauge R&R · Variable Data | [15 empty] | SKILLAGILITY
AVERAGE & RANGE METHOD · 10 PARTS · UP TO 3 APPRAISERS × 3 TRIALS
Characteristic |  |  | Order-entry time (min)
Tolerance (USL − LSL), optional
Appraiser → | Daniel |  |  |  |  | Mia |  |  |  |  | Tom
Part | Trial 1 | Trial 2 | Trial 3 | Ø | R | Trial 1 | Trial 2 | Trial 3 | Ø | R | Trial 1 | Trial 2 | Trial 3 | Ø | R | Part Ø
1 | 3.47 | 3.64 | 3.71 |  |  | 3.61 | 3.52 | 3.66 |  |  | 3.6 | 3.67 | 3.42
2 | 4.26 | 4.48 | 4.45 |  |  | 4.64 | 4.58 | 4.46 |  |  | 4.32 | 4.63 | 4.32
3 | 5.01 | 4.97 | 5.11 |  |  | 5.19 | 5.13 | 5.16 |  |  | 5.08 | 5.13 | 5.17
4 | 5.82 | 5.6 | 5.88 |  |  | 5.71 | 5.85 | 5.71 |  |  | 5.75 | 5.66 | 5.77
5 | 6.66 | 6.29 | 6.39 |  |  | 6.22 | 6.34 | 6.44 |  |  | 6.24 | 6.29 | 6.26
6 | 6.79 | 6.96 | 6.81 |  |  | 7.18 | 6.91 | 7.05 |  |  | 6.85 | 6.95 | 6.78
7 | 7.51 | 7.39 | 7.54 |  |  | 7.54 | 7.49 | 7.38 |  |  | 7.43 | 7.4 | 7.53
8 | 7.96 | 8.06 | 8.06 |  |  | 8.1 | 8.09 | 8.09 |  |  | 7.88 | 7.84 | 7.91
9 | 4.96 | 5.07 | 5.01 |  |  | 5.09 | 5.06 | 5.05 |  |  | 4.87 | 4.93 | 5.05
10 | 6.06 | 6.02 | 6.32 |  |  | 6.2 | 6.28 | 6.27 |  |  | 5.93 | 6.32 | 6.25
X̄ / R̄
Calculation | [7 empty] | Results
Trials per appraiser (r) | [7 empty] | Source |  |  | σ | 6σ (study var) | % Study Var | % Contribution | % Tolerance
Appraisers (k) | [7 empty] | Repeatability (EV)
Parts (n) | [7 empty] | Reproducibility (AV)
R̿ (average range) | [7 empty] | Gauge R&R (GRR)
X̄ diff (appraiser averages) | [7 empty] | Part-to-part (PV)
Rp (range of part averages) | [7 empty] | Total variation (TV)
K1
K2 | [7 empty] | Number of distinct categories (ndc)
K3 | [7 empty] | Verdict (%GRR of study variation)
%GRR < 10% acceptable · 10–30% conditionally acceptable (depends on cost and risk) · > 30% not acceptable. ndc ≥ 5 means the system can tell parts apart. If AV dominates, train and align appraisers; if EV dominates, look at the gauge or method.
© SKILLAGILITY · Operational Excellence training · skillagility.com